{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":2,"n_cols":5,"rows_kept":2}
["名称","单位","数量","预算（万元）","需求"]
["电子内窥图像处理器/电子输尿管肾盂镜","套",1,9,"主要功能：电子输尿管肾盂镜与电子内窥镜图像处理器配合使用，经尿道插入输尿管、肾盂内，提供输尿、肾盂的观察、诊断、摄影和治疗所需影像。配置：图像处理器主机1台、视频连接线1条、电源适配器1条、侧漏器1个、HDMI视频配置线1条。电子输尿管肾盂镜2根。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}